## IEC62559-2_GR
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | 3.1.1. BUC GR-1a
| Area/ Domain(s)/ Zone(s) | national / regional
| Name of use case | Voltage Control – Multi-Level Market Model
1.2 Version management
| Version No. | 1
| Date | 2019-07-23
| Name of author(s) | HEDNO
| Changes | none
| Approval status | approved
1.3 Scope and objectives of use case
| Scope | Energy markets: Day Ahead (DA), Intraday (ID), Near Real Time
| Objective(s) | • To ensure non-discriminatory access to the market for all agents that provide grid services. • To enable coordination and information exchange between system operators in order to improve efficiency of the system. • To enable the TSO to use the flexibility provided by the resources connected to the distribution system for voltage control, while respecting distribution system constraints. • To ensure a secure operation of the transmission and distribution system. • To minimize RES curtailment due to security reasons.
| Related business case(s) | BUC GR-1a
1.4 Narrative of use case
| Short description | The UC describes the steps that are followed to eliminate voltage violations in the transmission and distribution system using flexibility provided by resources connected to both systems. The voltage level in transmission and distribution systems is permanently assessed and monitored by the ΤSO and DSO respectively, in order to decide on actions for keeping voltages of their systems within the admissible range.
| Complete description | This UC describes the actions that are carried out in case of anticipated voltage violations in transmission and distribution system in order to keep the voltage level in acceptable boundaries. Flexible resources connected to the transmission and distribution system can provide flexibility to system operators to eliminate voltage violations through a market mechanism. Active and reactive power control is considered. The voltage control shall be local as voltage is a local need for power grids. This is an important activity that is likely performed on a permanent basis to keep the grid voltage within normal ranges. In addition, it has to be ensured that the activation of flexible resources in the distribution network by the TSO would respect distribution system constraints. A Cooperation and information exchange between the DSO and TSO are crucial for eliminating voltage violations in the most efficient way, while respecting distribution and transmission system constraints.
1.5 Key performance indicators (KPI)
| ID | 3 | 7 | 10 | 14
| Name | Cost of R&I solution VS grid alternative solution | Increase RES and DER hosting capacity | Reduction in RES curtailment | Voltage variation
| Description | Cost of R&I solution VS grid alternative solution | Increase RES and DER hosting capacity | Reduction in RES curtailment | Voltage variation
| Reference to mentioned use case objectives | GR-1a | GR-1a | GR-1a | GR-1a
1.6 Use case conditions
| Assumptions | Presence of RES and flexibility capacity
| Prerequisites | Market prepared to exchange flexibility in aggregated mode
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | n/a
| Level of depth | specialized
| nioc | nice to have
| Generic, regional or national relation | national
| Nature of the use case | business
| Further keywords for classification | n/a
1.8 General remarks
| General remarks | n/a
2 Diagrams of use case
| Diagram name | BUC GR-1a Overview: Voltage Control– Multi-Level Market Model
| Diagram type | Sequence
| Diagram URI type | (none)
| Diagram URI value | UIC_Greece.png
3 Technical details
3.1 Actors
| Grouping | System Operators
| Group description | (existing definitions)
| Actor name | TSO | DSO | FPS
| Actor type | ENTSO-E
Actor description
Further information specific to this use case
3.2 References
| Name | none
| No. | none
| References type | no reference has been used
| Reference | n/a
| Status | n/a
| Impact on use case | n/a
| Originator/organisation | n/a
| Link | n/a
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1
| Scenario name | Day-ahead market
| Scenario description | Coordinet platform and functionalities interaction in national energy market
| Primary actor | TSO
| Triggering event | Voltage deviation
| Pre-condition | Voltage calculated at local nodes
| Postcondition | Activation of flexibility
4.2 Steps – Scenarios
| Scenario name: | Day-ahead market
| Step No. | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Event | TSO and DSO invoke RES and Load forecast | TSO asses voltage level | voltage deviation | flexibility assessed | flexibility requests | flexibility assess | flexibility bids
| Name of process/activity | share info per substation | power flow simulation | flexibility assessment | flexibility request | market clearing | bids aggregation | market clearance
| Description of process/activity | TSO and DSO assess voltage level | DSO with TSO decide next grid reconfiguration | TSO and DSO assess the required amount of flexibility | DSO request offer from day-ahead market | Market operator receive from DSO the eiligible bids | TSO request offers from day-ahead market, DSO aggregates the remainng bids according to the interested location | TSO receive the aggreggated bids, market is cleared
| Service | get | execute | create | get | execute | create | execute
| Information producer (actor) | Tso, DSO | DSO | TSO, DSO | market operator | DSO | DSO | TSO
| Information receiver (actor) | TSO, DSO | TSO | TSO, DSO | DSO | Market Operator | TSO | Market operator
| Information exchanged (IDs) | forecast | forecast on voltage nodes | flexibility | bids | bids | flexibility bids | aggregated bids
Reference to Scenario number | bar: Day-ahead market 1 to Day-ahead market 7
5 Information exchanged
| Requirement, R-Ids | Day-ahead market 1: n/a
| Information exchanged, ID | Day-ahead market 1: n/a
| Name of information | Day-ahead market 1: n/a
| Description of information exchanged | Day-ahead market 1: n/a
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: "domain_overview", "use_case_overview", "documentation", "scenarios_flowchart", "scenario_overview", "activities_flowchart", "activity_overview", "business_objects_overview", "role_model", "other" or nothing (default="other")
Note on B40: Lucas Pons Bayarri: "UMLDiagram", "image" or nothing
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.