## IEC62559-2
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | UC8
| Area/ Domain(s)/ Zone(s) | / Distribution, DER / Station, Operation, Field, Process
| Name of use case | Flexibility measures I: Virtual Power Plant (VPP) services based on district solutions (variable PV generation, storage and V2G)
1.2 Version management
| Version No. | v0.1 | v0.5
| Date | 01.10.2020 | 01.10.2020
| Name of author(s) | Juan Jacobo Peralta | Mª Carmen Bocanegra
| Changes | Preliminary description of narrative, objectives, users… | Scenario descriptions
Approval status
1.3 Scope and objectives of use case
| Scope | To enhance grid operation at distributed level by allowing flexibility mechanisms from Distributed Energy Resources (DER), specifically managing at district level Battery Energy Storage System (BESS), PV generation and V2G charging point infrastructure working on a DC voltage network.
| Objective(s) | UC08.1. Balancing energy flows to support distribution grid operation (targets: charge/discharge electric vehicles, controlling local BESS and modulating PV production with power converters) UC08.2. Optimise electric car charging costs by local RES, local energy store or provided by the distribution grid (pool-based information) UC08.3. Reduce electric car charging CO2 emissions by using local RES, local energy store or provide by the distribution grid (pool-based information). UC08.4. Demonstrate high-efficient operation of DC networks with silicon carbide-based power converters.
| Related business case(s) | Virtual Power Plant Services: supporting distribution grid balancing and V2G infrastructures.
1.4 Narrative of use case
| Short description | Optimised control of DER (including PV generation, BESS and V2G) can help to release flexibility according to grid constraints to enhance its operation. This would lead to lower operational costs, grid congestion and generation curtailment, while maximising revenue through VPP services.
| Complete description | This use case aims (a) to define technical solutions to manage the energy flexibility of distributed energy resources (DER) that are exploited potentially by a DER manager (e.g. facility manager, ESCO…), and (b) to define market steps to exploit such energy flexibility through energy aggregators, balance responsible parties (BRP) or similar stakeholders. The technical context of this use case is a DC voltage network that integrates generation, storage and consumption units at district/neighbourhood level. As example, this use case is tested in the ebalance-plus project creating a DC voltage network with SiC-based power converters, PV canopies, external BESS and V2G infrastructure. In the operation level, the energy flow is managed mainly by two energy management units: the DERMU (distributed energy resources management unit) and the LVGMU (low voltage grid management unit). The former monitors the operation of all the DER components and receive the grid status and steering signals from the latter located in the secondary substation that supplies electricity to the DC network. As tentative market context, it is assumed that the DER manager has a deal with an energy retailer or energy aggregator to buy/sell the energy according to specific contract conditions (tariffs, daily prices, carbon emissions…) and with specific bonus by supporting grid operation. The DERMU optimises energy flows considering the DC network components, energy forecasting (e.g. PV generation, charging vehicles, BESS status), energy contract conditions or requests on demand from the energy aggregator as primary scenario and it will balance energy flows when the LVGMU requests flexibility from the DSO/TSO level as alternative scenario. In the primary scenario, the energy aggregator/ESCO enterprise system sends a specific flexibility request. The DERMU receives the steering signals, balances the network elements, and calculates the degree of compliance with the original requests and send it back to the aggregator/ESCO enterprise system, which validates if finally accepts the energy flexibility according to contractual conditions. In case of validation, the DERMU execute the optimized plan. In the alternative scenario, the energy management system of DSO/TSO will request flexibility to the ebalance-plus platform. The MVGMUs identify the most suitable LVGMUs and generate specific steering signals. These in turn identifies the most suitable DERMU and generate specific steering signals to support the request in a cost-efficient manner. The DERMU receives the steering signals, balances the network elements, and calculates the degree of compliance with the original requests and send it back to the LVGMU. Finally, the energy retailer or energy aggregator accounting system monitors the flexibility released and calculates the bonus.
1.5 Key performance indicators (KPI)
| ID | I06b | I10b | I14a | I14b | I18 | I19 | I20b
| Name | Ratio of local DER generation vs. local DER consumption (%) | Peak load reduction with smart-grid technologies using available flexibility | Average energy flexibility provided by BESS/V2G. | Number of equivalent hours of average energy shifted by BESS or V2G | Energy flexibility supplied to the grid in <x> kW · <y> hours | Energy cost reduction (€/kWh) | Grid operational cost reduction (€/kW)
| Description | Percentage of energy consumed by V2G infrastructure and energy losses (power conversion) regarding energy generation/storage. This indicator can be calculated under different time ranges (hour, day, week…) | Rated distribution grid power peak reduction with the DER facility | Percentage of energy supplied by the BESS/V2G regarding total energy consumption. This indicator can be calculated under different time ranges (hour, day, week…) | Equivalent number of hours supplied by the BESS/V2G with the average power consumption. The average power consumption is calculated by day, week, month… | Energy flexibility supplied to the grid expressed as power per time. | Energy cost savings comparing DER exploitation prices with average cost of retail market | Power cost reduction giving the energy provided by the DER facility
| Reference to mentioned use case objectives | UC08.3 | UC08.1 | UC08.1 | UC08.1, UC08.2, UC08.3 | UC08.1 | UC08.2 | UC08.1
1.6 Use case conditions
| Assumptions | o The ebalance-plus platform knows the 24-hours optimal energy portfolio in advance of low voltage management units (CMU and DERMU). o None related grid threshold is overpassed in requesting time. o Aggregator’s customers MU are operative to receive requests | The grid management units are connected to the ebalance-plus platform.
| Prerequisites | o Energy aggregator’s trading system detects a market opportunity in the intra-day market. o The balance-plus platform is operative. o Linked DSOs has published the threshold level for grid capacity management in the corresponding MU. o Contract conditions allow DER managers to change the energy profile on demand (flexibility). | The ebalance-plus and the grid management units are operative.
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | Associated to UC.09 (DERMU role is exchanged with CMU role)
| Level of depth | High Level Use Case
| Prioritisation | Mandatory
| Generic, regional or national relation | Generic
| Nature of the use case | Technical & Market
| Further keywords for classification | Flexibility request, congestion, peak load reduction, DER optimization
1.8 General remarks
General remarks
2 Diagrams of use case
| Diagram name | Sequence diagram 1. Grid Capacity Management using available flexibility at DER domain | Sequence diagram 2. Aggregator flexibility management system requests flexibility | SGAM - Component Layer | SGAM - Function Layer | SGAM - Communication Layer | SGAM - Information Layer | SGAM - Buisness Layer
| Diagram type | scenarios_flowchart | scenarios_flowchart | other | other | other | other | other
| Diagram URI type | image | image | image | image | image | image | image
| Diagram URI value | Sequence_Diagram-Sc1.png | Sequence_Diagram-Sc2.png | Component_layer.png | Function_layer.png | Communication_layer.png | Information_layer.png | Buisness_layer.png
3 Technical details
3.1 Actors
| Grouping | IS IT | Interactive Communication device | Interactive Communication device Network device | Interactive Communication device Network device | IS IT | IS IT | Physical client | Physical client | Charging facilities | DER installation | DER installation
Group description
| Actor name | ebalance-plus platform or TLGMU (top level grid management unit) | ebalance-plus platform: DERMU (Distributed Energy Resource Management Unit) | ebalance-plus platform: LVGMU (Low Voltage Grid Management Unit) | ebalance-plus platform: MVGMU (Low Voltage Grid Management Unit) | Energy aggregator flexibility management system | DSO energy management system | EV-V2G user | DER Manager | V2G charging points EMS | District BESS | Local RES Power Converter EMS (e.g. PV)
| Actor type | System | System | System | System | System | System | Role | Role | System | System | System
| Actor description | Grid management platform to balance energy according available flexibility | Electronic unit that manages all the energy operations at district level, optimise energy operation and manage energy flexibility. | Electronic unit that manages all the energy operations of management units (CMU/DERMU) connected to their secondary substation | Electronic unit that manages all the energy operations of management units (LVGMU/DERMU) connected to their secondary substation | SW that support energy aggregator to make decisions about flexibility management | SW that support DSO to establish grid capacity thresholds in PS/SS | EV user | User that establishes operation preferences for its DER facility | Integrated EMS in the V2G charging points | External BESS supporting DER flexibility | Power converter manages energy flows from local RES
| Further information specific to this use case | Responsible for dispatching flexibility requests to the corresponding DERMUs | Responsible for evaluating the flexibility requests and release the requested amount from ebalance-plus platform from energy aggregator or grid capacity management issues. | Responsible for detecting in advance, using forecasting services, power peaks from secondary substations that overpass DSO’s thresholds and requesting needed energy flexibility to balance the LV grid. | Responsible for detecting in advance, using forecasting services, power peaks from primary substations that overpass DSO’s thresholds and requesting needed energy flexibility to balance the LV grid. | Responsible for requesting flexibility from their customers using the ebalance-plus interfaces | Set-up grid capacity thresholds in the corresponding PS/SS | Set-up preferences regarding V2G operations | The DER is composed of RES, V2G charging points and BESS | Responsible to manage the SoC of EV as batteries according to flexibility requests from the DERMU | Responsible to manage the SoC of the battery stack according to flexibility requests from the DERMU | Responsible to manage the energy flows from local RESS according to flexibility requests from the DERMU
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | PS1 | PS2 | AS1
| Scenario name | Grid Capacity Management using available flexibility at DER domain (success) | Aggregator flexibility management system requests flexibility | Grid Capacity Management using available flexibility at DER domain (failure)
| Scenario description | Some grid management unit of the ebalance-plus platform detect a forthcoming threshold overpass and calculate the necessary flexibility and request this flexibility to the corresponding DERMU | Some energy aggregator flexibility system requests to ebalance-plus platform flexibility balancing services. The ebalance-plus identifies the DERMUs registered to the corresponding aggregator and activate flexibility services. | Some grid management unit of the ebalance-plus platform detect a forthcoming threshold overpass and calculate the necessary flexibility and request this flexibility to the corresponding DERMU
| Primary actor | ebalance-plus platform (MVGMU / LVGMU) | Energy aggregator’s flexibility management system | ebalance-plus platform (MVGMU / LVGMU)
| Triggering event | Prediction algorithms or real-time measurements detects forthcoming power threshold overpass | It detects flexibility trading profits and it requests flexibility to prosumers & DER operators | Prediction algorithms or real-time measurements detects forthcoming power threshold overpass
| Pre-condition | The ebalance-plus and the grid management units are operative. | o Energy aggregator’s trading system detects a market opportunity in the intra-day market. o The balance-plus platform is operative. o Linked DSOs has published the threshold level for grid capacity management in the corresponding MU. o Contract conditions allow DER managers to change the energy profile on demand (flexibility). | The ebalance-plus and the grid management units are operative.
| Postcondition | Success: The corresponding DERMU are available to negotiate the energy flexibility requested. Failure: not enough flexibility is provided by available DERMU to support grid | Success: The ebalance-plus platform identifies the corresponding DERMU that can support energy aggregator’s objectives and send flexibility requests to them. DERMU tries to comply as much as possible with flexibility request. | Not enough flexibility is provided by available DERMU to support grid: DERMU provides maximum flexibility and inform upper level (LVGMU) the shortcoming.
4.2 Steps – Scenarios
| Scenario name: | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Grid Capacity Management using available flexibility at DER domain (success) | Aggregator flexibility management system requests flexibility | Aggregator flexibility management system requests flexibility | Aggregator flexibility management system requests flexibility | Aggregator flexibility management system requests flexibility | Aggregator flexibility management system requests flexibility | Aggregator flexibility management system requests flexibility | Aggregator flexibility management system requests flexibility | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure) | Grid Capacity Management using available flexibility at DER domain (failure)
| Step No. | 1.1 | 1.2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 3.1 | 3.2 | 4 | 1 | 1.2 | 2.1 | 2.2 | 2.3 | 3.1 | 3.2 | 1.1 | 1.2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 3.1 | 3.2 | 4
| Event | Periodic execution | Estimation of steady state | Evaluation of flexibility request | Compliance check | Energy profile aggregation | Energy profile aggregation | Publish | Update load forecasting | Update load forecasting | Validation | Execution on demand | Dispatching flexibility to DERMU | Evaluation of flexibility request | Compliance check | Energy profile aggregation | Energy profile aggregation | Register | Periodic execution | Estimation of steady state | Evaluation of flexibility request | Compliance check | Energy profile aggregation | Energy profile aggregation | Publish | Update load forecasting | Update load forecasting | Validation
Name of process/activity
| Description of process/activity | The MVGMU/LVMGU located at PS/SS respectively receives power load forecasting (external/internal service) | Verification of DSO’s load thresholds and dispatching flexibility requests to lower units (economic dispatching based on operational constraints) | The DERMU optimizes the DER energy profile to meet flexibility requests and evaluate the compliance. It generates the steering signals (set points) to the DER units. | DER’s EMS check & confirm flexibility level compliance (new energy profile) | DERMU aggregates energy profile from DER units and send back to the LVGMU | LVGMU aggregates energy profile from DER units and send back to the MVGMU | DERMU published energy flexibility released | LVGMU update load forecasting and run new steady state to verify load thresholds | MVGMU update load forecasting and run new steady state to verify load thresholds | LVGMU/MVGMU meet DSO’s thresholds and established state condition in normal operation | The external flexibility management system request flexibility (energy profile) to their DER customers. | Dispatching flexibility requests to DER linked to the energy aggregator | The DERMU optimizes the DER energy profile to meet flexibility requests and evaluate the compliance. It generates the steering signals (set points) to the DER units. | DER’s EMS check & confirm flexibility level compliance (new energy profile) | DERMU aggregates energy profile from DER units and send back to the TLGMU | TLGMU aggregates energy profile from DER units and send back to the Aggregator flexibility management system | TLGMU registers energy flexibility released | The MVGMU/LVMGU located at PS/SS respectively receives power load forecasting (external/internal service) | Verification of DSO’s load thresholds and dispatching flexibility requests to lower units (economic dispatching based on operational constraints) | The DERMU optimizes the DER energy profile to meet flexibility requests and evaluate the compliance. It generates the steering signals (set points) to the DER units. | DER’s EMS check & confirm flexibility level compliance (new energy profile) | DERMU aggregates energy profile from DER units and send back to the LVGMU | LVGMU aggregates energy profile from DER units and send back to the MVGMU | DERMU published energy flexibility released | LVGMU update load forecasting and run new steady state to verify load thresholds | MVGMU update load forecasting and run new steady state to verify load thresholds | LVGMU/MVGMU cannot meet DSO’s thresholds, activates alternative strategies (see grid management use cases)
| Service | GET | CREATE | CREATE | CREATE | CREATE | CREATE | CREATE | REPORT | REPORT | REPORT | REPORT | CREATE | CREATE | CREATE | CREATE | CREATE | CREATE | GET | CREATE | CREATE | CREATE | CREATE | CREATE | CREATE | REPORT | REPORT | REPORT
| Information producer (actor) | Forecasting services or prediction algorithm | MVGMU/LVGMU | DERMU | DER unit | DERMU | LVGMU | DERMU | LVGMU | MVGMU | LVGMU / MVGMU | Aggregator’s flexibility management system | TLGMU | DERMU | DER unit | DERMU | TLGMU | TLGMU | Forecasting services or prediction algorithm | MVGMU/LVGMU | DERMU | DER unit | DERMU | LVGMU | DERMU | LVGMU | MVGMU | LVGMU / MVGMU
| Information receiver (actor) | MVGMU/LVGMU | LVGMU/DERMU | DER units | DERMU | LVGMU | MVGMU | TLGMU | - | - | MVGMU / TLGMU | TLGMU | DERMU | DER units | DERMU | TLGMU | Aggregator’s flexibility management system | - | MVGMU/LVGMU | LVGMU/DERMU | DER units | DERMU | LVGMU | MVGMU | TLGMU | - | - | MVGMU / TLGMU
| Information exchanged (IDs) | 24-hour ahead power profile | VPP.FR | VPP.EP | VPP.EP | VPP.EP | VPP.EP | VPP.FR | VPP.AFR | Load state | Load state | VPP.FR | VPP.FR | VPP.EP | VPP.EP | VPP.EP | VPP.EP | VPP.AFR | 24-hour ahead power profile | VPP.FR | VPP.EP | VPP.EP | VPP.EP | VPP.EP | VPP.AFR | Load state | Load state | Load state
| Reference to Scenario number | PS1 | PS1 | PS1 | PS1 | PS1 | PS1 | PS1 | PS1 | PS1 | PS1 | PS2 | PS2 | PS2 | PS2 | PS2 | PS2 | PS2 | AS1 | AS1 | AS1 | AS1 | AS1 | AS1 | AS1 | AS1 | AS1 | AS1
5 Information exchanged
| Requirement, R-Ids | The structure of this data will be decided during project progress | The structure of this data will be decided during project progress (e.g. based on USEF recommendations) | The structure of this data will be decided during project progress (e.g. based on USEF recommendations)
| Information exchanged, ID | VPP.EP | VPP.FR | PP.AFR
| Name of information | Energy profile | Flexibility requests | Actual flexibility released
| Description of information exchanged | Array with energy values (positive/negative) indicating the consumption/generation status | Array with min/max power values (positive/negative) and periods indicating the requested energy flexibility | Array with power values (positive/negative) and periods indicating the released energy flexibility
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: "domain_overview", "use_case_overview", "documentation", "scenarios_flowchart", "scenario_overview", "activities_flowchart", "activity_overview", "business_objects_overview", "role_model", "other" or nothing (default="other")
Note on B40: Lucas Pons Bayarri: "UMLDiagram", "image" or nothing
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.