## IEC62559-2
1 Description of the use case | Instructions are provided as comments in the rows
1.1 Name of use case
Use case identification
| ID | GIFT - UC4
| Area/ Domain(s)/ Zone(s) | Distribution system, DER, Customers
| Name of use case | Procida Local energy community
1.2 Version management
| Version No. | 1
| Date | 2019-05-24
| Name of author(s) | Dune Sebilleau
| Changes | Document initiation
| Approval status | Approved
1.3 Scope and objectives of use case
| Scope | Procida network is to be organized as a local energy community, in order to reduce the dependency to the mainland, improve the efficiency of the grid and avoid summer congestion and blackouts. This would be used as an incentive for the individual prosumers to invest in renewable electricity production (PV). Afew public buildings would participate in this scheme.
| Objective(s) | The main objectives are to create a local energy community, and to manage the congestion issues: [3] Reduce the use of hydrocarbon-based energies [3.1] Allow a high level of penetration of renewable energy [3.1.1] Involve citizen through self-consumption [3.1.2] Increase the renewable energy production [3.2] Reduce dependency to the mainland [3.2.1] Increase storage capacity [4] Optimize the consumption of electricity [4.1] Provide observability of the grid [4.2] Provide flexibility in consumption
| Related business case(s) | Demand side management, Renewable energy integration
1.4 Narrative of use case
| Short description | Create a local energy community in Procida (RUC5), driven by the municipality in order to decrease its dependency on the connection to the mainland, and optimize its consumption of energy. This LEC will as well be the driver for the development of renewable electricity production using PV.
| Complete description | This use-case aims to create a local energy community at Procida, in order to increase the citizen implication in the energy network, to improve the energy efficiency and to develop the share of renewables. The local energy community will be driven by Procida municipality and run by an external BRP. This use-case would be supported by a few public buildings, that are equipped with heat pumps and have a relatively high energy consumption, and would therefore be eligible for providing flexibility: • The city hall: Equipped with a solar panel system and a heat pump. Will be coupled to the storage and generation system from Sylfen, which produces heat as well: 5kW of electricity storage and 4-5 kW of heat. • The public school: Equipped with a reversible heat pump • The hospital: Equipped with a heat pump, has a high energy consumption but low flexibility. Moreover, the municipality considers driving an increase in the local electricity production from PV on public buildings. The city hall PV system will be upgraded from 20 kW to 60 kW, and the two schools will get PV systems installed of 100 kW each (2 000 square meters in each school). The reduction of electricity consumption by the public lighting (currently one of the highest consumption sources in the island) will also be studied as part of this LEC. It could be done by replacing the light bulbs with LED, and/or by providing flexibility with the optimization of the use (with sensors). The PV energy could as well be used if batteries are involved. Other prosumers could as well enter the LEC: • A hotel (20 rooms) could join the scheme as a factory to provide flexibility. • Other industrial prosumers could join the scheme as factories. This is done using the GIFT system. It is a combination of different actors developed by the solution providers (GIFT project partners): • The Weather, Energy, S&D, Price Predictions and the Grid Observability system are used to forecast and monitor the state of the grid. A SCADA and an MDMS system present on the field are used to provide them with the necessary data. • The FlexAgent and the ESB are used for communication between the elements. • The VPS is used as an aggregator to trade the flexibility obtained from flexibility providers.
1.5 Key performance indicators (KPI)
| ID | KPI 1.5 | KPI 2.1 | KPI 2.2 | KPI 2.3 | KPI 2.4 | KPI 2.5 | KPI 3.3 | KPI 3.4 | KPI 3.5 | KPI 5.1 | KPI 5.2 | KPI 5.3 | KPI 5.4
| Name | Accuracy of forecast at prosumer, MV/LV transformer or substantial level (energy demand, generation, flexibility) | Storage capacity installed (kW) | Storage energy installed (kWh) | Storage cost [€] | Possible renewable integration in the grid (%) | Electricity load adaptability level (%) | Demand response generated by virtual energy storage in demonstrated use cases in the project (during 3 months’ testing & evaluation period) | Capable of integrating large share of renewables | Reduction of fuel for heating and cooling (%) & related GHG emission (tons eq. CO2) | Lessen the burden of power grids through self-consumption | Grid state observability: near-real time (5min) and forecast (forecast 30min up to 24-48 hrs) | Accuracy of forecasts at microgrid, BRP level (energy demand, generation, flexibility) | Reduce exchanged energy between island and mainland (kWh/year)
| Description | Mean absolute percentage error (MAPE) | 50 kW | 2010 kWh | <=0.10€/kWh cycle | >10% | >=15% Energy demand variation (delta MWh/h) with respect to peak demand (MWh/h) | >15% Energy demand variation (delta MWh /h) with respect to peak demand (MWh/h) | +10/-30% Safe increase of installed capacity (MW) with respect to initial capacity margins with no available demand response | >= Percentage of captured heat from primary processes for included prosumers | >10 % MWh/h of self-consumed energy | > 80 % Number of observed grid state variables (voltages, power flows), with respect to all possible states of interest (full observability). | < 5 % Mean Absolute Percentage Error (MAPE) | >=10% Weighted to size of pilot vs. size of complete island
| Reference to mentioned use case objectives | [2.1] | [1.2.2] | [1.2.2] | [1.2.2] | [1.1.2] | [2.2] | [2.2] | [1.1] | [1] | [1.1.1] | [2.1] | [2.1] | [1.2]
1.6 Use case conditions
| Assumptions | Assuming enough data on the grid state will be provided by the DSO.
| Prerequisites | Detailed technical information should be provided
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | N/A
| Level of depth | General
| Prioritisation | Normal
| Generic, regional or national relation | Generic
| Nature of the use case | Optimized electricity consumption in a local energy community
| Further keywords for classification | Local Energy Community, Flexibility, Renewable energy
1.8 General remarks
| General remarks | The different scenarios can be combined: a combination of flexibility providers can be requested to provide flexibility for the same congestion management event.
2 Diagrams of use case
| Diagram name | UML Diagram of the Procida Local energy community Use-case | SGAM component layer of the Procida Local energy community Use-case
| Diagram type | image | image
| Diagram URI type | png | png
| Diagram URI value | UML Diagram of the Procida Local energy community Use-case.png | SGAM component layer of the Procida Local energy community Use-case.png
3 Technical details
3.1 Actors
| Grouping | Business Actor | Operator | Logical Actor
| Group description | Physical or legal Person that has his own interests, defined as "Business Goals" | Business Actor that operates a system | Technical Entity that takes part in the execution of a Use Case. A Logical Actor can be mapped to a physical component.
| Actor name | DSO | BRP | Municipality | Weather, Energy, S&D, Price Predictions | ESB | Grid observability system | VPS Control center | FlexAgent | Meter Reading and Control System | PV | controller | PV | Factory EMS | Industrial Consumer | Smart energy hub
| Actor type | Operator | Operator | Business actor | Weather Forecast and Observation System | Systems Interfacing Support | Network Operation Simulation | Application | Systems Interfacing Support | Application | Switch Controller |  | Distributed Energy Resource | Demand Response Management System | Business actor | Battery Controller
| Actor description | Operator of the Distribution System | Balance responsible party of the distribution system | Physical or legal Person that has his own interests, defined as "Business Goals" | System which intends to perform weather forecast and observation calculation and to distribute the calculated geospatially referenced information to all connected other systems such as Distribution management systems, Transmission management systems, DER/Generation management systems, EMS or VPPs systems for DER, … enabling in many cases optimized decision processes or automation | Actor responsible for delivering & ensuring functional system interfaces | This actor performs network state estimation in order to allow facilities to define, prepare and optimize the sequence of operations required to solve or mitigate the predicted issues. | Software-based application or system | Actor responsible for delivering & ensuring functional system interfaces, | Application or system responsible for Meter Reading and Control | An IED that controls any switchgear. It enables the control from remote centers (tele-control) and also from related automatics. It supervises the command execution and gives an alarm in case if improper ending of the command. It can also ask for releases from interlocking, synchrocheck, autoreclosure if applicable. |  | Small unit which generates energy and which is connected to the distribution grid. Loads which could modify their consumption according to external set points are often also considered as DER | Demand Response Management System (DRMS) is a system or an application which maintains the control of many load devices to curtail their energy consumption in response to energy shortages or high energy prices. | An industrial consumer of electricity may also be involved in contract-based Demand/Response. | An IED that provides data about battery status and controls the charging/de-charging cycles
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | Sc.1 | Sc.2 | Sc.3
| Scenario name | Optimized consumption using industrial consumers flexibility | Optimized consumption using PV flexibility | Optimized consumption using Smart energy hub
| Scenario description | Because congestion is forecasted on Procida grid, industrial consumers are requested to provide flexibility when consuming electricity. | Because congestion is predicted, the PV production is switched off. | Because congestion is forecasted on Procida grid, the Smart energy hub storage is requested to charge or discharge.
| Primary actor | Industrial consumers | PV | Smart energy hub
| Triggering event | Congestion forecasted | Congestion forecasted | Congestion detected
| Pre-condition |  | PV must be producing electricity | The Smart energy hub must not be empty if requested to discharge, or full if requested to charge.
| Postcondition | The rebound effect must be avoided.
4.2 Steps – Scenarios
| Scenario name: | Optimized consumption using industrial consumers flexibility | [9 empty] | Optimized consumption using public PV | [9 empty] | Optimized consumption using Smart energy hub
| Step No. | St.1 | St.2 | St.3 | St.4 | St.5 | St.6 | St.7 | St.8 | St.9 | St.10 | St.1 | St.2 | St.3 | St.4 | St.5 | St.6 | St.7 | St.8 | St.9 | St.10 | St.1 | St.2 | St.3 | St.4 | St.5 | St.6 | St.7 | St.8 | St.9
| Event | Prosumers flexibility offer | Prosumers flexibility offer | Imbalance forecast | Imbalance forecast | Imbalance detection | Flexibility request | Flexibility request | Prosumers flexibility request | Prosumers flexibility provision | Prosumers flexibility provision | PV flexibility offer | PV flexibility offer | Imbalance forecast | Imbalance forecast | Imbalance detection | Flexibility request | Flexibility request | PV flexibility request | PV flexibility provision | PV flexibility provision | Storage flexibility offer | Storage flexibility offer | Imbalance forecast | Imbalance forecast | Imbalance detection | Flexibility request | Flexibility request | Storage flexibility request | Storage flexibility provision
| Name of process/activity | Flexibility offer | Communication | Forecast | Communication | Grid modeling / observation | Communication | Virtual power station management | Communication | Flexibility provision | Flexibility provision | Flexibility offer | Communication | Forecast | Communication | Grid modeling / observation | Communication | Virtual power station management | Communication | Flexibility provision | Flexibility provision | Flexibility offer | Communication | Forecast | Communication | Grid modeling / observation | Communication | Virtual power station management | Communication | Flexibility provision
| Description of process/activity | The prosumers continuously inform the VPS of its available energy. | The Flex agent manages the communications between the EMS systems and the VPS. | The state of the grid is constantly forecasted in order to try predict imbalances. | The ESB manages the communications between the Predictions system and the Grid observability system. | The grid behavior is constantly monitored, looking for potential congestion and voltage excursion. | The Flex agent manages the communications from the Grid observability system to the VPS. | The VPS manages the flexibility available within the grid. When flexibility is needed, it creates requests to the suitable flexibility provider. | The Flex agent manages the communications from the VPS to the EMS systems. | The Factory EMS makes the factories provide the requested flexibility accordingly to their availability. | The industrial prosumers modify their consumption accordingly to the grid needs. | The PV controller continuously inform the VPS of its available flexibility. | The Flex agent manages the communications between the EMS systems and the VPS. | The state of the grid is constantly forecasted in order to try predict the grid state. | The ESB manages the communications between the Predictions system and the Grid observability system. | The grid behavior is constantly monitored, looking for potential congestion and voltage excursion. | The Flex agent manages the communications from the Grid observability system to the VPS. | The VPS manages the flexibility available within the grid. When flexibility is needed, it creates requests to the suitable flexibility provider. | The Flex agent manages the communications from the VPS to the EMS systems. | The PV controller curtails the PV production accordingly to their availability. | The photovoltaic panels modify their production according to the grid needs. | The Smart energy hub continuously inform the VPS of its available energy. | The Flex agent manages the communications between the EMS systems and the VPS. | The state of the grid is constantly forecasted in order to try predict the grid state. | The ESB manages the communications between the Predictions system and the Grid observability system. | The grid behavior is constantly monitored, looking for potential congestion and voltage excursion. | The Flex agent manages the communications from the Grid observability system to the VPS. | The VPS manages the flexibility available within the grid. When flexibility is needed, it creates requests to the suitable flexibility provider. | The Flex agent manages the communications from the VPS to the EMS systems. | The smart energy hub charges or discharges its storage according to the grid needs.
| Service | Report | Send | Report | Send | Report | Send | Create | Send | Execute | Execute | Report | Send | Report | Send | Report | Send | Create | Send | Execute | Execute | Report | Send | Report | Send | Report | Send | Create | Send | Execute
| Information producer (actor) | Factory EMS | FlexAgent | Weather, Energy, S&D, Price Predictions | ESB | Grid observability system | FlexAgent | VPS Control center | FlexAgent | Factory EMS | Industrial prosumers | PV controller | FlexAgent | Weather, Energy, S&D, Price Predictions | ESB | Grid observability system | FlexAgent | VPS Control center | FlexAgent | PV controller | PV | Smart energy hub | FlexAgent | Weather, Energy, S&D, Price Predictions | ESB | Grid observability system | FlexAgent | VPS Control center | FlexAgent | Smart energy hub
| Information receiver (actor) | FlexAgent | VPS Control center | ESB | Grid observability system | FlexAgent | VPS Control center | FlexAgent | Factory EMS | Industrial prosumers |  | FlexAgent | VPS Control center | ESB | Grid observability system | FlexAgent | VPS Control center | FlexAgent | PV controller | PV |  | FlexAgent | VPS Control center | ESB | Grid observability system | FlexAgent | VPS Control center | FlexAgent | Smart Energy Hub
| Information exchanged (IDs) | Inf.7 | Inf.7 | Inf.1, 2, 3, 5 | Inf.1, 2, 3, 4, 5 | Inf.4 | Inf.3, 6 | Inf.3, 6 | Inf.3, 6 | Inf.9 | Inf.10 | Inf.7 | Inf.7 | Inf.1, 2, 3, 5 | Inf.1, 2, 3, 4, 5 | Inf.4 | Inf.3, 6 | Inf.3, 6 | Inf.3, 6 | Inf.9 | Inf.10 | Inf.7 | Inf.7 | Inf.1, 2, 3, 5 | Inf.1, 2, 3, 4, 5 | Inf.4 | Inf.3, 6 | Inf.3, 6 | Inf.3, 6 | Inf.9
| Reference to Scenario number | Sc.1 | [9 empty] | Sc.2 | [9 empty] | Sc.3
5 Information exchanged
| Requirement, R-Ids | Accuracy, Req.3 | Accuracy, Req.3 | Accuracy, Req.3 | Accuracy, Req.3 | Accuracy, Req.3 | Accuracy, Req.3 | Accuracy, Req.3 | Equity, Req.5 | Response time, Req.2 | Equity, Req.5
| Information exchanged, ID | Inf.1 | Inf.2 | Inf.3 | Inf.4 | Inf.5 | Inf.6 | Inf.7 | Inf.8 | Inf.9 | Inf.10
| Name of information | Weather forecast | S&D | Price | Grid state | Grid state prediction | Power needed | Power available | Power requested | Power modified | Power consumption
| Description of information exchanged | The weather forecast is an input of the prediction system that enables to predict the future state of the grid. | Supply and demand data are transferred to the Grid observability system. It is used to predict congestion through the Weather, Energy, S&D, Price Predictions system. | The energy price is predicted by the Weather, Energy, S&D, Price Predictions system. | The grid state is observed by the Grid observability system. It is used to directly detect congestion, or to predict congestion through the Weather, Energy, S&D, Price Predictions system. | The Weather, Energy, S&D, Price Predictions system along with the Grid observability system are able to predict the Grid state on a short- and long -term basis. | The power needed to avoid congestion is assessed by the Grid observability system. | The available power is calculated by the different flexibility providers based on the availability and flexibility of their components. | The power requested from each flexibility provider is decided by the VPS in order to get the necessary flexibility from the available providers. | The controller receives the power modification requested by the VPS and executes the action by directly modifying the power at device level. | The new power consumption by a flexibility provider following a power request from a VPS
Note on B5: Lucas Pons Bayarri: Use cases can be used in various areas (e.g. energy system). Within these areas, different domains are used to define/determine a more specific subgrouping. Zones might describe additional zones with an automation system or a reference architecture (SGAM). Experts in a particular field could suggest their set of domain (and zones) in order to provide a common understanding how to group use cases within a complex area. These predefined domains (and zones) can be chosen by the author of the use case (preselection). The author can select one or more domains and zone, comma separated, as it is usual that use cases are crossing different domains and zones. Example domains: Generation, transmission, DER, distribution, customer premises. Example zones: Process, field, station, operation, enterprise, market
Note on B7: Lucas Pons Bayarri: Insert one column per version. Do not remove previous columns in order to keep track of past versions. These set of field will be expanded in columns on any new version
Note on B10: Lucas Pons Bayarri: Comma-separated list
Note on B12: Lucas Pons Bayarri: will be used within the standardization organizations. The procedures for validation of use cases or actors will be defined in part 1 of this standard. EXAMPLE Similar to working draft, committee draft (CD) for comments, committee draft for vote (CDV), for voting (similar FDIS), final
Note on B16: Lucas Pons Bayarri: Comma separated list of related use cases
Note on B20: Lucas Pons Bayarri: Insert one column per KPI. This set of columns will expand in columns on any addtional KPI
Note on B25: Lucas Pons Bayarri: Insert as much assumptions and prerequisites as needed in columns. This set of rows will be expanded in columns
Note on B29: Lucas Pons Bayarri: Known relations to other use cases can be provided here if e.g. the use case is a more detailed one related to a high level use case, or it is an alternative to an existing use case. The type of relation like “include”, “extends”, “invokes” might be used in order to specify this relation in more detail.
Note on B30: Lucas Pons Bayarri: Use cases can be described on different levels (refer to IEC62559-1 for examples). Currently there is no fixed hierarchy for use cases defined, but some most common examples are provided. EXAMPLE High level use case, generic use case, specialised use cases.
Note on B31: Lucas Pons Bayarri: EXAMPLE: Obligatory/mandatory, optional, nice to have.
Note on B32: Lucas Pons Bayarri: On international level, the use case description might be generic enough to describe a use case in a more general way independently from the national or regional market design. But use cases might be used to describe regional or national specific circumstances like laws or even project-specific details. If the use case reflects those circumstances, it should be characterized accordingly. EXAMPLE National, "Country".
Note on B33: Lucas Pons Bayarri: This field can help to classify the main focus of the use case. EXAMPLE Technical/system use case, business use cases (e.g. market processes), political, test use cases.
Note on B35: Lucas Pons Bayarri: Insert one row per general remark of the use case. This row will be expanded by columns
Note on B36: Lucas Pons Bayarri: for further comments which are not considered elsewhere.
Note on B37: Lucas Pons Bayarri: Insert one column per diagram associated to this use case. This set of rows will be expanded by columns. Each diagram should be later uploaded to the github along with this template filled up. The name of the diagram files uploaded must match thr name specified in this section
Note on B39: Lucas Pons Bayarri: "domain_overview", "use_case_overview", "documentation", "scenarios_flowchart", "scenario_overview", "activities_flowchart", "activity_overview", "business_objects_overview", "role_model", "other" or nothing (default="other")
Note on B40: Lucas Pons Bayarri: "UMLDiagram", "image" or nothing
Note on B41: Lucas Pons Bayarri: Insert the name of the diagram exactly like the one that will be uploaded
Note on B43: Lucas Pons Bayarri: Insert one column per actor. These set of rows will be expanded by columns. The concept of an “actor” is very general and can cover: People (their roles or jobs), systems, databases, organizations, and devices involved in or affected by the use case: e.g. operators, system administrators, technicians, end users, service personnel, executives, SCADA system, real-time database, regional transmission operator (RTO), remote terminal units (RTU), intelligent electronic devices (IED) and even the power system. It is recommended to use actors as described in the ENTSO-E role model: https://eepublicdownloads.entsoe.eu/clean-documents/EDI/Library/HRM/Harmonised_Role_Model_2020-01.pdf
Note on B44: Lucas Pons Bayarri: The actor list can be grouped in order to provide a better overview. Naming convention: For complex groupings, the group name can be “dot-delimited”. EXAMPLE (area.domain.) main.sub.subsub. The grouping may follow the suggested domains/zones previous section
Note on B45: Lucas Pons Bayarri: Brief description of the group
Note on B46: Lucas Pons Bayarri: Actor name according to an existing taxonomy OR actor name especifically defined for this project
Note on B47: Lucas Pons Bayarri: If the actor is already defined in an existing and well-know actors taxonomy, just add here the name of the taxonomy (EXAMPLE: ENTSO-E role model). If not, here the type of actor should be provided
Note on B48: Lucas Pons Bayarri: In case the actor is not described in any existing taxonomy, the description mandatory. If the actor is already described ina taxonomy and the taxonomy is specified in the previos field, this field is not required
Note on B50: Lucas Pons Bayarri: Insert one column per reference. These set of rows will be expanded by columns.
Note on B53: Lucas Pons Bayarri: There are different reference types as shown in the examples above (e.g. standards, regulation, contract, others like publications)
Note on B54: Lucas Pons Bayarri: Any references shall be identified that might restrict or affect the design, understanding, and requirements of the use case, including contracts, regulations, policies, financial considerations, engineering constraints, pollution constraints, and other environmental quality issues
Note on B55: Lucas Pons Bayarri: e.g. NP, CD, CDV, FDIS, IS
Note on B56: Lucas Pons Bayarri: Where does the document influence the use case? e.g. copy right, IPR
Note on B57: Lucas Pons Bayarri: Who published the document?
Note on B58: Lucas Pons Bayarri: If available, a public link can be provided (e.g. to the IEC webstore for standards).
Note on B60: Lucas Pons Bayarri: Focuses on describing scenarios of the use case with a step-step analysis (sequence description).
Note on B61: Lucas Pons Bayarri: Insert one column per condition. These set of rows will be expanded by columns
Note on B65: Lucas Pons Bayarri: describes which actor(s) trigger(s) this scenario.
Note on B66: Lucas Pons Bayarri: describes which event(s) trigger(s) this scenario.
Note on B67: Lucas Pons Bayarri: Describes which condition(s) should have been met before this scenario happens.
Note on B68: Lucas Pons Bayarri: describes which condition(s) should prevail after this scenario happens The post conditions may also define “success” or “failure” conditions for each use case.
Note on B69: Lucas Pons Bayarri: Insert one column per step. These set of rows will be expanded by columns. For the scenario, all the steps performed shall be described going from start to end using simple verbs like – get, put, cancel, subscribe etc. Steps shall be numbered sequentially – 1, 2, 3 and so on. Should the scenario require detailed descriptions of steps that are also used by other use cases, it should be considered creating a new “sub” use case, then referring to that “subroutine” in this scenario.
Note on B70: Lucas Pons Bayarri: Refers to the name of one of the scenarios defined in the previous section
Note on B72: Lucas Pons Bayarri: The event that triggers the step. This might be completion of the previous step. EXAMPLE A human requesting the function, data being reported periodically, or a power system event
Note on B73: Lucas Pons Bayarri: Label that would appear in a process diagram. Action verbs should be used when naming activity.
Note on B74: Lucas Pons Bayarri: This describes what action takes place in this step. The focus should be less on the algorithms of the applications and more on the interactions and information flows between actors.
Note on B75: Lucas Pons Bayarri: This column identifies the nature of the information flow and the originator of the information. Available options are CREATE, GET, CHANGE, DELETE, CANCEL, EXECUTE derived from IEC 61968-100:2013, 6.2.2. Additionally, REPORT, TIMER and REPEAT are suggested. CREATE means that an information object is to be created at the Producer. GET (this is the default value if none is populated) means that the Receiver requests information from the Producer (default). CHANGE means that information is to be updated. Producer updates the Receiver’s information. DELETE means that information is to be deleted. Producer deletes information from the Receiver. CANCEL, CLOSE imply actions related to processes, such as the closure of a work order or the cancellation of a control request. EXECUTE is used when a complex transaction is being conveyed using a service, which potentially contains more than one verb. REPORT is used to represent transferral of unsolicited information or asynchronous information flows. Producer provides information to the Receiver. TIMER is used to represent a waiting period. When using the TIMER service, the Information Producer and Information Receiver fields shall refer to the same actor. REPEAT is used to indicate that a series of steps is repeated until a condition or trigger event. The condition is specified as the text in the “Event” column for this row or step. Following the word REPEAT, shall appear, in parenthesis, the first and last step numbers of the series to be repeated in the following form REPEAT(X-Y) where X is the first step and Y is the last step. These common service definitions are related to automation/information or communication systems. In case the use case template is applied in other domains, further services might be used and described.
Note on B76: Lucas Pons Bayarri: This identifies the producer or source of the information. This should be one of the actors in the reference template section.
Note on B77: Lucas Pons Bayarri: This identifies the receiver of the information. This should also be one of the actors identified above
Note on B78: Lucas Pons Bayarri: This describes briefly the information to be exchanged between the two actors – information producer and information receiver: – Input to the use case from some external sources that is not described in this use case. – Internal to the use case (e.g. between different applications and systems within the use case). – Output from the use case that will be used by other actors/entities not included in this use case. – This column should not contain technology issues/requirements. – It is allowed to list several information in one step, comma separated. – Summarizing the information exchanged between two actors based on the relevant set of use cases can characterize the needed communication/message payload. – Detailed information exchange should be identified using an ID (“Name of Information”). Such name should include the source namespace, if not referring to the by-default one. In this case, the column only contains the ID of the exchanged information which link to more details about the information in a separate table in the following template section 5 which is used for all steps of the use case. Here the information can use a short ID referring to template section 5 for further details. Several information exchanged IDs can be listed, comma separated.
Note on B79: Lucas Pons Bayarri: Refers to the Number of one of the scenarios defined in the previous section
Note on B80: Lucas Pons Bayarri: Insert one column per information item. These set of rows will be expanded by columns.
Note on B81: Lucas Pons Bayarri: the requirement id Can be used to define requirements referring to the information and not to the step as in the step by step analysis (see template section 6 below): EXAMPLE Data protection class corresponding to this information object.
Note on B82: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B83: Lucas Pons Bayarri: Unique ID which identifies the selected information in the context of the use case.
Note on B84: Lucas Pons Bayarri: Brief description, in case a reference to existing data models/information classes should be added. Using existing canonical data models is recommended.

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.