## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | WECL-PT-03
Area/ Domain(s)/ Zone(s)
| Name of use case | Exchange of Information for Operational Planning
1.2 Version management
Version No.
| Date | 2021-07-05
| Name of author(s) | E-REDES NESTER REN INESC TEC
Changes
Approval status
1.3 Scope and objectives of use case
| Scope | This BUC is focused on defining and describing the TSO and DSO information exchange, aiming to improve and facilitate long-term to short-term operational planning for both networks.
| Objective(s) | 1-Identify the scheduled/forecasted information exchanged between DSO and TSO in order to improve programming of DSO operation. 2-Identify the scheduled/forecasted information exchanged between DSO and TSO in order to improve programming of TSO operation. 3-Anticipate and solve distribution grid constraints. 4-Anticipate and solve transmission grid constraints. 5-Develop information exchange mechanisms to share the identified information.
| Related business case(s) | WECL-PT-01, WECL-PT-02
1.4 Narrative of use case
| Short description | This BUC focus on the enhancement of information exchange that enables better operational planning for DSOs and TSOs.
| Complete description | The increase in generation from renewable resources, with its uncertainty, and the increase in the use of electricity (due to EVs for example) means that system operators have to improve their strategies for managing the grid more efficiently in order to avoid unnecessary investments. In this BUC, our strategy is to optimize coordination between DSO and TSO by identifying and sharing the information that enables better operational planning for their networks. This Business Case is related to BUC-1 and BUC-2, since some of the information covered in this use case can be used in both. This UC explores and intends to define the information exchange principles between TSO and DSO in order to improve the operation of both networks, in multiple domains and timeframes. For the long term, will be defined the information that needs to be exchanged bidirectionally regarding the expected evolution of the transmission and distribution grids and their associated supply, consumption, production and flexibility services configuration. Concerning the medium term, the effort will be focused on the definition of the information regarding the capacity and availability for load connection in the EHV/HV substation, as well as the information regarding the load transfers availability between EHV/HV interconnecting points, providing a better management of the distribution network loops by the DSO. This allows, in case of emergency, the possibility of the DSO to manage the transfer of load between networks. For the efficient use of the flexibility services and enhancement of the operational planning, the increase of the information exchanged on short-term is key. Once well-defined the observability area of both operators around the TSO-DSO border, the focus will be in the definition of information to exchange about: -Short-circuit power at the TSO-DSO border; -Scheduled maintenance actions in the observability area -Aggregated consumption and production forecast by technology (solar, wind, hydro, etc) The short-circuit power at the HV bay in the physical border of the TSO-DSO interface (EHV/HV substations) is important to keep tracking due to the increase of the DER that actively contribute to the increase of the short-circuit levels. The short-circuit levels should be tracked in order to ensure that they are kept bellow the rated short circuit current of the circuit breakers in the interface TSO/DSO. This information should be computed and exchanged after the gate-closure time of the day-ahead market in order to use the market results to robustly forecast the short-circuit levels at nodal level in the observability area. Due to the impact that distribution network loops, close to the TSO-DSO interface, can have in the transmission power flows, the share of the information about the scheduled maintenance plans becomes crucial for the TSO operational planning. On the other side, to the DSO, the TSO can share information about the connectivity status and maintenance plans of the transmission lines between EHV/HV substation with some impact in the distribution grids power flows near the border. For an efficient and secure operation of the power system, it is fundamental to include an accurate forecast of the load and generation into the TSO operational planning framework. Having in mind that the DSO has their own forecasting methods for the DERs generation and load connected to the distribution networks. Both forecasts can be aggregated by technology and per grid node of the observability area. This information, when shared with the TSO, can have great potential to enhance the TSO operational planning activities The final goal of this use case is to set a greater cooperation in information exchanges between TSO-DSO within a common observability area for operational planning purposes and identify future flexibility needs in the transmission and distribution networks.
1.5 Key performance indicators (KPI)
ID
Name
Description
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | 1- The data exchanged in short-term time-scale, occurs after the gate closure time of the day-ahead market, in order to have the market results into consideration in the forecasting processes 2- The TSO is the System Manager of the corresponding control area 3- The DSO has the capability to predict constraints in its own grid 4- All the exchanged data is referred to the observability area around the interface TSO-DSO 5- The exchange of any kind of data will occur through Web-Services 6- For the long-term time-scale, the exchange of data is bidirectional and should be updated periodically (monthly). 7- The capacity and availability for load connection and capacity of transfer power between injectors in the EHV/HV is only updated in short-term if there are any maintenance actions foreseen.
| Prerequisites | 1-Definition of the observability area between TSO and DSO 2-For the exchange of the load and distributed generation disaggregated by technology type, the DSO and TSO needs to forecast it 72 hours ahead with an update rate in each 24 hours 3-The TSO and DSO forecasts the connection state and schedule maintenance actions of transmission and distribution assets respectively (lines, transformers, capacitor banks, etc.) in medium term period (monthly) and updates it regularly until short-term period. 4-Web-Services link between both operators 5-Both operators have to have the capabilities to compute the short-circuit power in the TSO-DSO interface (EHV/HV substations) 6-The capacity and availability for load connection and capacity of transfer power between injectors in the EHV/HV is forecasted annually and revised/updated in medium and short-term.
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | This BUC 3 defines some information exchanges with the objective of enhance operational planning activities of the TSO and DSO, namely in what concerns to the use of flexibility for the Congestion Management (described in WECL-PT-01 and WECL-PT-02).
| Level of depth | Generic use case
| Prioritisation | High level of priority
| Generic, regional or national relation | Generic
| Nature of the use case | Business Use Case
| Further keywords for classification | TSO-DSO coordination, data exchange, operational planning, observability area
1.8 General remarks
General remarks
2 Diagrams of use case
| Diagram name | BUC-3 Diagram v1 | SequenceDiagramUC3_extended_new
| Diagram type | IEC62559.DrawingClassification.use_case_overview | IEC62559.DrawingClassification.scenario_overview
| Diagram URI type | IEC62559.ResourceType.image | IEC62559.ResourceType.image
| Diagram URI value | BUC-3 Diagram v1.png | SequenceDiagramUC3_extended_new.pdf
3 Technical details
3.1 Actors
Grouping
Group description
| Actor name | DSO | TSO | Market Operator
| Actor type | Role | Role | Role
| Actor description | According to the EDSO, the DSOs are “the operating managers (and sometimes owners) of energy distribution networks, operating at low, medium and, in some member states, high voltage levels (LV, MV)”. | According to the European Commission, the TSO is “an organisation committed to transporting energy in the form of natural gas or electrical power on a national or regional level, using fixed infrastructure”. The certification procedure for TSOs is listed in Article 10 of the 2009 Electricity and Gas Directives. | According to Article 2(7) of the Regulation (EU) 2019/943 of the European Parliament and of the Council of 5 June 2019 on the internal market for electricity (recast), market operator designates “an entity that provides a service whereby the offers to sell electricity are matched with bids to buy electricity”.
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1 | 2 | 3
| Scenario name | Long-term information exchange | Medium-term information exchange | Short-term information exchange
| Scenario description | Describes the information exchange for operational planning in long-term time frame | Describes the information exchange for operational planning in medium-term time frame | Describes the information exchange for operational planning in short-term time frame
| Primary actor | DSO/TSO | DSO/TSO | DSO/TSO
| Triggering event |  |  | Market clearance results
Pre-condition
Postcondition
4.2 Steps – Scenarios
| Scenario name: | Long-term information exchange | Long-term information exchange | Long-term information exchange | Long-term information exchange | Long-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Medium-term information exchange | Short-term information exchange | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification | Prepare/Prequalification
| Step No. | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 3.10 | 3.11 | 3.12 | 3.13 | 3.14 | 3.15 | 3.16 | 3.17 | 3.18 | 3.19 | 3.20 | 3.21
Event
| Name of process/activity | Send the plan of grid investments foreseen | Send expected evolution of the supply | Send expected evolution of the consumption | Send flexibility services configuration | Send the annual maintenance plans | TSO long term planning foreseen previously (long-term) | DSO long term planning foreseen previously (long-term) | Review and update the grid investment plans | Send updated DSO grid planning | Send updated TSO grid planning | Send TSO maintenance plans foreseen in medium-term | Send DSO maintenance plans foreseen in medium-term | Send information regarding the capacity and availability for load connection in the EHV/HV | Send information regarding the load transfers availability between injectors EHV/HV | Send day-ahead market clearance results | Send DSO load forecast | Send TSO load forecast | Updated jointly load forecast | Send DG forecast for the next 72h | Send TSO generation forecast for the next 72h | Updated jointly generation forecast | TSO maintenance plans foreseen in medium-term | DSO maintenance plans foreseen in medium-term | Review and update maintenance plans | Send updated DSO maintenance plans | Send updated TSO maintenance plans | Updated jointly maintenance plans | Send connection state of distribution grid loops forecast | Send connection state of transmission grid loops forecast | Updated grid loops connection states | Compute short circuit forecast values in TSO/DSO interface considering transmission generation contribution | Send short-circuit values with TSO contributions | Compute short circuit forecast values in TSO/DSO interface considering distribution generation contribution | Update the total short circuit in TSO/DSO interface with both contributions | Send the final short-circuit values
| Description of process/activity | The grid investments foreseen by each of the system operators are exchanged between them in order to update grid models and operational planning activities | Exchange the forecasted generation in the transmission and distribution grid | Send the foreseen evolution of the load connected to the grid | Exchange of the flexibility services configurations between both operators in order to update the dedicated markets accordingly | The annual maintenance plans in both of the grids (transmission and distribution) are shared between the operators annually | TSO uses the long-term plans as basis for the medium-term updates | DSO uses the long-term plans as basis for the medium-term updates | Having as basis the long-term investment plans both operators update it in medium-term | Exchange of the updated grid planning of the distribution grid | Exchange of the updated grid planning of the transmission grid | Using as basis the long-term maintenance plan, the TSO updates it and send it to the DSO | Using as basis the long-term maintenance plan, the DSO updates it and send it to the TSO | The TSO provides information about the capacity and availability for load connection in the EHV/HV substations | The TSO provides information about the load transfers availability between injectors EHV/HV | The wholesale market operator provides the day-ahead market clearance results | DSO exchanges with TSO load forecasts aggregated by node belonging to the observability area. | TSO exchanges with DSO load forecasts aggregated by node belonging to the observability area. | Update the load forecast based on the analysis of both forecasts for future operational planning purposes | DSO exchanges with TSO distributed generation forecasts aggregated by node belonging to the observability area. The DG is split by technology type. | TSO exchanges with DSO generation forecasts aggregated by node belonging to the observability area, split by technology type. | Update the generation forecast based on the analysis of both forecasts for future operational planning purposes | TSO uses the medium-term maintenance plans as basis for the short-term updates | DSO uses the medium-term maintenance plans as basis for the short-term updates | Having as basis the medium-term maintenance plans both operators update it in short-term | Exchange of the DSO updated maintenance plans | Exchange of the TSO updated maintenance plans | Merge the updated maintenance plans of both operators for future operational planning purposes | DSO exchanges with TSO the forecasted connection state of distribution grid loops | TSO exchanges with DSO the forecasted connection state of transmission grid loops | Merge the updated grid loops connection states forecasts of both operators for future operational planning purposes | Having into consideration the day-ahead forecasts the TSO computes the short circuit forecast values in TSO/DSO interface considering just the generation connected to its grid. | The TSO send the information of the forecast Ssc for the 24 hours of the next day. | The DSO computes the short-circuit values in TSO/DSO interface, having into consideration the active contribution from the sources connected to its grid | Sum up both of the contributions (transmission and distribution) for the total short circuit values in TSO/DSO interface | The DSO send to the TSO the final short-circuit values in the TSO/DSO interface
| Service | REPORT | REPORT | REPORT | REPORT | REPORT |  |  | EXECUTE | REPORT | REPORT | EXECUTE | EXECUTE And REPORT | REPORT | REPORT | REPORT | REPORT | REPORT | EXECUTE | REPORT | REPORT | EXECUTE |  |  | EXECUTE | REPORT | REPORT | EXECUTE | REPORT | REPORT | EXECUTE | EXECUTE | REPORT | EXECUTE | EXECUTE | EXECUTE
| Information producer (actor) | TSO/DSO | TSO/DSO | DSO | TSO/DSO | TSO/DSO | TSO | DSO | TSO/DSO | DSO | TSO | TSO | DSO | TSO | TSO | Market Operator | DSO | TSO | TSO | DSO | TSO | TSO | TSO | DSO | TSO/DSO | DSO | TSO | TSO | DSO | TSO | TSO | TSO | TSO | DSO | DSO | DSO
| Information receiver (actor) | DSO/TSO | DSO/TSO | TSO | DSO/TSO | DSO/TSO |  |  |  | TSO | DSO | DSO | TSO | DSO | DSO | TSO/DSO | TSO | DSO |  | TSO | DSO |  |  |  |  | TSO | DSO |  | TSO | DSO |  |  | DSO |  |  | TSO
| Information exchanged (IDs) | INFO 1 | INFO 2 | INFO 3 | INFO 4 | INFO 5 |  |  |  | INFO 6 | INFO 7 | INFO 8 | INFO 9 | INFO 10 | INFO 11 | INFO 12 | INFO 13 | INFO 14 |  | INFO 15 | INFO 16 |  |  |  |  | INFO 17 | INFO 18 |  | INFO 19 | INFO 20 |  |  | INFO 21 |  |  | INFO 22
Reference to Scenario number
5 Information exchanged | Requirement, R-Ids
| Information exchanged, ID | INFO 1 | INFO 2 | INFO 3 | INFO 4 | INFO 5 | INFO 6 | INFO 7 | INFO 8 | INFO 9 | INFO 10 | INFO 11 | INFO 12 | INFO 13 | INFO 14 | INFO 15 | INFO 16 | INFO 17 | INFO 18 | INFO 19 | INFO 20 | INFO 21 | INFO 22
| Name of information | Plan of grid investments foreseen | Expected supply evolution | Expected consumption evolution | Flexibility services configuration | Annual maintenance plan | Updated DSO grid planning | Updated TSO grid planning | Medium-term TSO maintenance plans | Medium-term DSO maintenance plans | Capacity and availability for load connection in the EHV/HV | Load transfers availability between injectors EHV/HV | Day-ahead market clearance results | DSO load forecast | TSO load forecast | DG forecast for the next 72h | TSO generation forecast for the next 72h | Updated DSO maintenance plans | Updated TSO maintenance plans | Connection state of distribution grid loops forecast | Connection state of transmission grid loops forecast | Short-circuit values with TSO contributions | Final short-circuit values
| Description of information exchanged | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d |  | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d | t.b.d

## Folha1
Scenario
Scenario name |  | Long-term information exchange
Step No | Event | Name of process/activity | Description of process/activity | Service | Information producer (actor) | Information receiver (actor) | Information exchanged (IDs) | Requirement, R-IDs | INFO 1 | Plan of grid investments foreseen | t.b.d
3.1 |  | Send day-ahead market clearance results | The wholesale market operator provides the day-ahead market clearance results | REPORT | Market Operator | TSO/DSO | INFO 12 |  | INFO 2 | Expected supply evolution | t.b.d
3.2 |  | Send DSO load forecast | DSO exchanges with TSO load forecasts aggregated by node belonging to the observability area. | REPORT | DSO | TSO | INFO 13
3.3 |  | Send TSO load forecast | TSO exchanges with DSO load forecasts aggregated by node belonging to the observability area. | REPORT | TSO | DSO | INFO 14 |  | INFO 3 | Expected consumption evolution | t.b.d
3.4 |  | Updated jointly load forecast | Update the load forecast based on the analysis of both forecasts for future operational planning purposes | EXECUTE | TSO |  |  |  | INFO 4 | Flexibility services configuration | t.b.d
3.5 |  | Send DG forecast for the next 72h | DSO exchanges with TSO distributed generation forecasts aggregated by node belonging to the observability area. The DG is split by technology type. | REPORT | DSO | TSO | INFO 15
3.6 |  | Send TSO generation forecast for the next 72h | TSO exchanges with DSO generation forecasts aggregated by node belonging to the observability area, split by technology type. | REPORT | TSO | DSO | INFO 16 |  | INFO 5 | Annual maintenance plan | t.b.d
3.7 |  | Updated jointly generation forecast | Update the generation forecast based on the analysis of both forecasts for future operational planning purposes | EXECUTE | TSO |  |  |  | INFO 6 | Updated DSO grid planning | t.b.d
3.8 |  | TSO maintenance plans foreseen in medium-term | TSO uses the medium-term maintenance plans as basis for the short-term updates |  | TSO
3.9 |  | DSO maintenance plans foreseen in medium-term | DSO uses the medium-term maintenance plans as basis for the short-term updates |  | DSO |  |  |  | INFO 7 | Updated TSO grid planning
3.10 |  | Review and update maintenance plans | Having as basis the medium-term maintenance plans both operators update it in short-term | EXECUTE | TSO/DSO |  |  |  | INFO 8 | Medium-term TSO maintenance plans | t.b.d
3.11 |  | Send updated DSO maintenance plans | Exchange of the DSO updated maintenance plans | REPORT | DSO | TSO | INFO 17
3.12 |  | Send updated TSO maintenance plans | Exchange of the TSO updated maintenance plans | REPORT | TSO | DSO | INFO 18 |  | INFO 9 | Medium-term DSO maintenance plans | t.b.d
3.13 |  | Updated jointly maintenance plans | Merge the updated maintenance plans of both operators for future operational planning purposes | EXECUTE | TSO |  |  |  | INFO 10 | Capacity and availability for load connection in the EHV/HV | t.b.d
3.14 |  | Send connection state of distribution grid loops forecast | DSO exchanges with TSO the forecasted connection state of distribution grid loops | REPORT | DSO | TSO | INFO 19
3.15 |  | Send connection state of transmission grid loops forecast | TSO exchanges with DSO the forecasted connection state of transmission grid loops | REPORT | TSO | DSO | INFO 20 |  | INFO 11 | Load transfers availability between injectors EHV/HV | t.b.d
3.16 |  | Updated grid loops connection states | Merge the updated grid loops connection states forecasts of both operators for future operational planning purposes | EXECUTE | TSO
3.17 |  | Compute short circuit forecast values in TSO/DSO interface considering transmission generation contribution | Having into consideration the day-ahead forecasts the TSO computes the short circuit forecast values in TSO/DSO interface considering just the generation connected to its grid. | EXECUTE | TSO |  |  |  | INFO 12 | Day-ahead market clearance results | t.b.d
3.18 |  | Send short-circuit values with TSO contributions | The TSO send the information of the forecast Ssc for the 24 hours of the next day. | REPORT | TSO | DSO | INFO 21
3.19 |  | Compute short circuit forecast values in TSO/DSO interface considering distribution generation contribution | The DSO computes the short-circuit values in TSO/DSO interface, having into consideration the active contribution from the sources connected to its grid | EXECUTE | DSO |  |  |  | INFO 13 | DSO load forecast | t.b.d
3.20 |  | Update the total short circuit in TSO/DSO interface with both contributions | Sum up both of the contributions (transmission and distribution) for the total short circuit values in TSO/DSO interface | EXECUTE | DSO
3.21 |  | Send the final short-circuit values | The DSO send to the TSO the final short-circuit values in the TSO/DSO interface | EXECUTE | DSO | TSO | INFO 22 |  | INFO 14 | TSO load forecast | t.b.d
[9 empty] | INFO 15 | DG forecast for the next 72h | t.b.d
[9 empty] | INFO 16 | TSO generation forecast for the next 72h | t.b.d
[9 empty] | INFO 17 | Updated DSO maintenance plans | t.b.d
[9 empty] | INFO 18 | Updated TSO maintenance plans | t.b.d
[9 empty] | INFO 19 | Connection state of distribution grid loops forecast | t.b.d
[9 empty] | INFO 20 | Connection state of transmission grid loops forecast | t.b.d
[9 empty] | INFO 21 | Short-circuit values with TSO contributions | t.b.d
[9 empty] | INFO 22 | Final short-circuit values | t.b.d

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.