## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | SOCL-GR-02
| Area/ Domain(s)/ Zone(s) | Greece
| Name of use case | Enhanced severe weather condition management and outage management for TSO, DSO and micro grid operator
1.2 Version management
| Version No. | 3
| Date | 2021-08-21
| Name of author(s) | Nenad Sijakovic, Aleksandar Terzic
Changes
Approval status
1.3 Scope and objectives of use case
| Scope | Enhanced severe weather condition management with pedictive maintenance algorithms with the enhanced storm and icing predictions in order to preserve power system from running into dangerous topological or operational states.
| Objective(s) | Predictive maintenance and outage management, Enhanced severe weather condition management, Outage management optimisation for increased system adequacy, Early warning on a potentially hazardous power system topology and regimes Avoidance of a damages caused by the severe weather conditions
Related business case(s)
1.4 Narrative of use case
| Short description | Enhanced severe weather condition management and outage management for TSO, DSO and micro grid operator.
| Complete description | Enhanced severe weather condition management will include the following elements: distributed generation units (WPPs and SPPs, as well as individual units), micro grid OHLs, DSO OHLs and TSO OHLs of interest. Predictive maintenance algorithms with the enhanced storm and icing predictions will be developed in order to preserve system running into dangerous topological or operational state. DSO grid, local micro grid outage management that takes into account improved predictions and forecasting efficiency from increased spatial resolution NWPs and AI integration together with the Early warning on a potentially hazardous power system topology and regimes and avoidance of a damages caused by the severe weather conditions. The main foreseen benefits/functionalities related to this particular business case (Enhanced Power Management for TSO-DSO coordination) are as follows: • Storm and Icing predictive maintenance process in TSO grid, DSO grid and local microgrid • Outage management process in TSO grid, DSO grid and local microgrid
1.5 Key performance indicators (KPI)
ID
| Name | Ice appearance prediction error | Storm appearance prediction error | Optimal PS operation due to optimisation of the planned outages | Early warning on a hazardous power system regimes
Description
| Reference to mentioned use case objectives | Predictive congestion management for maintaining secure and stable power system operation Early warning on a hazardous power system regimes | Predictive congestion management for maintaining secure and stable power system operation Early warning on a hazardous power system regimes | Predictive congestion management for maintaining secure and stable power system operation Early warning on a hazardous power system regimes | Predictive congestion management for maintaining secure and stable power system operation Early warning on a hazardous power system regimes
1.6 Use case conditions
| Assumptions | The use case will be developed and demonstrated in a non-invasive, offline environment using the power system simulation models. | Aggregators and prosumers will be simulated in the demonstration. | Additional DERs will be simulated if necessary in order to represent the near future conditions
| Prerequisites | Availability of the network and market data | Active participation of the primary users (TSO, DSO, aggregator)
1.7 Further information to the use case for classification/mapping
Relation to other use cases
Level of depth
Prioritisation
| Generic, regional or national relation | Use case can be implemented in any geographical region on local, national, or regional level.
| Nature of the use case | BUC
| Further keywords for classification | Predictive congestion management, Power system forecasts, Early warning system, Contingency analysis, Storm management, Ice appearance management
1.8 General remarks
General remarks
2 Diagrams of use case
| Diagram name | SOCL-GR-02 Use Case Overview
| Diagram type | IEC62559.DrawingClassification.use_case_overview
| Diagram URI type | IEC62559.ResourceType.image
| Diagram URI value | SOCL-GR-02_use_case_overview.png
3 Technical details
3.1 Actors
Grouping
Group description
| Actor name | Weather forecast provider | DSO/Micro-grid operator | Maintenance and asset management operator (TSO/DSO) | Outage scheduler (TSO/DSO) | Flexibility Register Operator (FRO) | Production scheduling operator (market operator) | DACF operator (TSO and corresponding expert in DSO) | 2DACF operator (TSO and corresponding expert in DSO) | IGM manager (TSO and corresponding expert in DSO) | ATC calculator (TSO and RSC)
| Actor type | Information provider | Information provider | Information receiver/provider | Information receiver/provider | Information receiver | Information receiver | Information receiver/provider | Information receiver/provider | Information receiver/provider | Information receiver/provider
| Actor description | Unit inside the TSO/DSO, or contracted outsourced weather forecast provider company responsible for weather forecasts for selected weather parameters and selected locations in the grid. | DSO/Micro grid operator responsible for the overall O&M activates in a certain geographical area. | TSO/DSO asset department expert in charge of grid maintenance planning which uses grid condition forecasts to foresee potential risks and prepare a proper mitigation or preventive measures for it. | Expert in charge of outage planning. Outage schedules are further on used for IGM and CGM development and regular updates of a grid topology inside models. This person is an interface between TSO transmission department and TSO short term planning department, making sure that all maintenance activities are well covered and foreseen by IGM topology updates and simulations as well. |  |  | An expert from TSO/Short term planning department, responsible for day ahead congestion forecast simulation and analysis which as an output gives the list of critical elements and critical outages with the list of possible mitigation measures. If the DACF is performed by a national TSO than targeted, analysed system is usually only a national power system and first neighbouring systems. | The same as previous | TSO/Short term planning department Expert/s responsible for development, maintenance and regular updates of a Individual Grid Models containing: consumption nodes (active and reactive power), production nodes (active power and voltage set), overall voltage profile, assumed power exchanges with the neighbouring systems. IGM models are further used by DACF, 2DACF and ATC calculator for further simulations, calculations and analysis. | TSO Operational personnel working on intraday - real time power system control and operations in a dispatching room, using DACF, 2DACF, Outage schedules, production schedules and Contingency Analysis outputs that are prepared on a 2day-ahead, or day-ahead basis. Also, these experts are using SCADA/EMS in order to perform intraday 5-15 min simulations and contingency analysis in order to update of the same analysis in a real time.
Further information specific to this use case
3.2 References
Name
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1
| Scenario name | Early severe state warning system / prevention and restoration
| Scenario description | In order to avoid severe damages of the equipment and load losses it is of outmost importance to prepare the power system elements for the incoming severe weather conditions as well as for the severe power system state conditions. Provide improved identification of a severe system states and contingencies that can cause severe system states in a more precise manner and longer time horizon than it is being done today together with the improved identification of flexibility resources, as well as improved identification of the flexibility needs. The activation time could be from 15 minutes to 1 hour.
| Primary actor | TSO, DSO, Wind production units
| Triggering event | Predicted contingency in the DSO or TSO grid
Pre-condition
Postcondition
4.2 Steps – Scenarios
| Scenario name: | Early severe state warning system / prevention and restoration | Early severe state warning system / prevention and restoration | Early severe state warning system / prevention and restoration | Early severe state warning system / prevention and restoration | Early severe state warning system / prevention and restoration
| Step No. | 1.1 | 1.2 | 1.3 | 1.4 | 1.5
| Event | Weather predictions | Energy predictions | IGM updates | Severe power system state identification | Mitigation measure identification
| Name of process/activity | Trigger of the scenario | Calculation of energy production and consumption | Updating the individual Grid Models | Contingency analysis and identification of the problems in the system focusing on the severe power system state conditions | Identification of the list of potential mitigation measures
| Description of process/activity | Unit inside the TSO/DSO, or contracted outsourced weather forecast provider company responsible for weather forecasts for selected weather parameters and selected locations in the grid is providing us with the high resolution NWP. | DSO/TSO Short term planning department production forecasting operator is responsible for wind, solar and hydro, short term, mid term and long term production forecasts, later on used for TSO level modelling under f-channel platform coordination: IGM updates, DACF and 2DACF procedures, Contingency Analysis and Capacity Calculations. | TSO/DSO Short term planning department Expert/s responsible for development, maintenance and regular updates of a Individual Grid Models containing: consumption nodes (active and reactive power), production nodes (active power and voltage set), overall voltage profile, assumed power exchanges with the neighbouring systems...IGM models are further used by DACF, 2DACF and ATC calculator for further simulations, calculations and analysis. | An expert from TSO/DSO Short term planning department, responsible for day ahead congestion forecast simulation and analysis which as an output gives the list of critical elements and critical outages with the list of possible mitigatiom measures…If the DACF is performed by a national TSO than targeted, analysed system is usualy only a national power system and first neighbouring systems. Based on energy production and consumption predictions, grid simulation models are formed in order to be able to perform contingency analysis and identify potential contingencies in the grid. | An expert from TSO/DSO Short term planning department, responsible for day ahead congestion forecast simulation and analysis which as an output gives the list of possible mitigation measures.
| Service | CREATE | CREATE | CREATE | REPORT | REPORT
| Information producer (actor) | Weather forecast provider | Production and Load forecasting operator in DSO and TSO | IGM model operators | DACF and 2DACF operators in TSO and DSO | DACF and 2DACF operators in TSO and DSO
| Information receiver (actor) | TSO, DSO short term planning departments | IGM model operators | DACF and 2DACF operators in TSO and DSO | Power system control expert (TSO/DSO) | Power system control expert (TSO/DSO)
| Information exchanged (IDs) | I1-01 | I1-02 | I1-03 | I1-04 | I1-05
| Reference to Scenario number | 1 | 1 | 1 | 1 | 1
5 Information exchanged | Requirement, R-Ids
| Information exchanged, ID | I1-01 | I1-02 | I1-03 | I1-04 | I1-05
| Name of information | Weather forecast REPORT | Energy production and load forecast REPORT | Updating the INDIVIDUAL Grid Models | Contingency analysis REPORT | List of potential mitigation measures REPORT
| Description of information exchanged | Weather forecast vendor provides json files with the high resolution weather forecast for the predefined Points of Interest. | DSO and TSO operator is performing energy production and load forecast using f-channel in built AI calculation engines. | IGM is being updated with the current energy and production forecast. | Contingencies that can lead to the severe power system state are identified and registered | Mitigation measures identified

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.